Instruction for "Diameter" Excel Macro

Purpose:
This comprehensive macro analyzes capillary diameter data across multiple worksheets, creating scatter plots for the "Green" and "Red" datasets. It detects and annotates spike/peak events in the "Green" series, measuring peak width and maximum values based on a dynamically calculated threshold.

Running the Macro:

- Ensure the data has columns labeled as "Distance", "Green", and "Red".

- Open the workbook in Excel. Open the VBA Editor (Alt + F11), insert a module, and paste the macro code. Run the “Diameter Stuff” macro, it will:

  - Analyze "Green" signal data for spikes.

  - Create scatter plots of "Green" and "Red" series on each sheet.

  - Annotate spikes and calculate spike width.

  - Eliminate duplicate charts based on titles.

Editing the Macro:

- If column names differ, update column identification logic to match your data.

- The threshold is set to 1.2x the minimum non-zero "Green" value. Adjust this factor in the threshold variable calculation to modify the sensitivity.

- The macro only annotates spikes that exceed a minimum width of 0.5 and a maximum value of 1.1 times the threshold. Adjust these conditions within the logic to fit your criteria. i.e. minimal distance apart

- You can modify the plot type, colors, and formatting in the chart creation section.

- Copy the code and specify the changes needed, such as adjusting column names, plot styles, or modifying spike detection logic.